## How to use this tool
How to use the assessment tool
Complete the Checklist workbook
The workbook is divided into the 9 principles
Under the 9 principles, key performance benchmarks (in bold) have specific individual criteria offered - a total of 112
Each criteria prompts you to consider a specific aspect of your storage to help with your assessment
For each criteria, use a score of 1, 2 or 3 to rate whether that criteria is - met (1), partially met (2), or not met at all (3)
As you enter a score for each criteria on the sheet a traffic light will populate providing a quick reference
Refer to QSA Recommended Record Storage Housing and Environmental Conditions particularly for Principle 3 (Environmental Control) for specific performance standards
Provide scores for as many criteria as you can - leave the score blank if a particular one is not applicable to your organisation
Refer to the Results page
The overall (total) ratings as raw scores and as percentages are automatically populated and displayed graphically dashboard-style on the Results page
Comparative ratings for each of the 9 principles are similarly displayed
As no weightings have been assigned for the criteria the data is qualitative only
The results page provides an indicative quick reference to gauge where the organisation is doing well with its record storage and where improvement is required
This data can be used to generate reports or used as-is, for example for an executive summary

## Checklist
Queensland State Archives Record Storage Standard Criteria Assessment Tool
CRITERIA | RATING 1= MEETS (green) 2= PARTIALLY MEETS (amber) 3= DOES NOT MEET (red)
Principle 1 - Location
Storage facilities are conveniently located and not near known hazards
Site location is convenient to users needs
Remote locations do not hinder site access or monitoring |  | 0
Site is accessible in an emergency (eg alternative route to site) |  | 0
Away from natural and man-made hazards
Adjacent businesses are compatible with records storage (eg light industrial, technology park, warehouse estate) |  | 0
Sited away from flood plains, creeks, rivers, stormwater, tidal inundation and flood-prone areas |  | 0
Sited away from bushfire-prone areas |  | 0
Land is not subject to subsidence or seismic activity |  | 0
Distanced from non-compatible businesses (refineries, chemical plants, factories, fuel depots etc that emit pollutants, pose toxic spill, fire, explosion or other risks) |  | 0
Distanced from major transport hubs (eg airports and not in major flight paths, rail stabling yards) |  | 0
The site has good drainage
Site has good natural drainage |  | 0
Site has adequate stormwater infrastructure and services that are well maintained |  | 0
Principle 2 - Facility Design and Construction
The design and construction of storage facilities protect and preserve the records
Building is constructed of appropriate materials and is well-insulated
Building has capacity to provide stable internal environments required for the archival collection with minimal reliance on mechanical systems |  | 0
Building construction and materials have high thermal mass (eg such as brick, stone, reincforced concrete) to insulate against external climatic extremes and variations |  | 0
Building construction and materials buffer internal conditions against external extremes and variations of humidity |  | 0
Building construction and elements avoid the risk of condensation formation and pockets of stagnant humid air |  | 0
Building materials do not generate particulate or gasoues pollutants (eg concrete has fully cured and sealed) |  | 0
Building materials and design enables effective cleaning and maintenance |  | 0
Building roof is pitched sufficeintly to allow rainwater run-off
Pitch allows rapid and complete run-off of rainwater and stormwater in all seasons |  | 0
Recommended roof falls: Metal 2O; Corrugated iron 5O; Tile/other 18O |  | 0
Guttering and downpipes are external, high-capacity and well-maintained
Guttering and downpipes meet or exceed building codes and standards to accomodate local climatic conditions (eg cyclone-rated, hail, severe summer thunderstorms) |  | 0
Downpipes and guttering are protected from accumulated leaf litter, birds and other pests |  | 0
Rain harvesting systems are regularly maintained |  | 0
There are no internal penetrations (including inspection points) of stormwater, guttering and downpipes or rain harvesting systems in storage areas |  | 0
Facilties are entirely weatherproof and sealed
Storage areas are sealed and fully protected from dust and wind |  | 0
Storage areas sealed and protected from pests (birds, insects, rodents, spiders, geckos etc) |  | 0
Storage areas protected from moisture and rainwater ingress |  | 0
Weatherproofing and sealing of storage areas effectively mitigates loss of conditioned air and assists climatic buffering |  | 0
Record storage rooms are sub-contained within the building, with no direct external walls, soil or in basements or lofts |  | 0
Use of air locks and positive air pressure inside storage areas is recommended to effectively mitigate leakage of uncontrolled external air and pollutants |  | 0
Storage areas are dedicated to records
Record storage areas are separated from other goods, materials and activities and solely used for storing records. |  | 0
Storage areas are appropriate for the level of protective security required
Storage areas housing records with restricted access, highly sensitive or security classifications are appropriately constructed |  | 0
Storage areas are isolated from on-site non-compatible and hazardous activies and facilities
Records storage areas are separated and distanced from kitchens, toilets, bathrooms, electrical plants, overhead pipes and plumbing, chemicals, office equipment. |  | 0
The building and services comply with or exceed building codes and standards current at the time of construction
Building and services are designed and constructed to meet or exceed minimum code and standards to accomodate local climatic conditions and risks (eg cyclone-rated, 100 Year Flood Zone) |  | 0
Relevant certifications and approvals for the building and all services and any modifications, extensions or installation of new services were obtained at the time of constuction and acceptance |  | 0
Storage areas have sufficient floor-loading capacity (FLC)
FLC is adequate for records and shelving including for anticipated future quantities and masses and engineering certification and approvals are current |  | 0
Storage areas are separate from the loading dock
Loading dock and receiving areas are segregated from record storage areas to reduce risk of vehicular pollutants, and infiltration of uncontrolled external conditions, and for security |  | 0
Principle 3 - Environmental Control
Records are stored in environmental conditions appropriate to their format and retention period
Regular monitoring is undertaken
Temperature and relative humidity are monitored to ensure required environmental conditions are maintained |  | 0
Records are stored according to the recommended environmental conditions
Temperature and relative humidity are maintained to correct levels for the records - refer Queensland State Archives – Recommended Record Storage Housing and Environmental Conditions |  | 0
Humidity levels do not promote mould growth (too high) or cause dessication of organic materials (too low) |  | 0
Temperatures do not promote chemical or physical deterioration, or biological activity including mould and pests |  | 0
Thermal and humidity fluctuations are within tolerances - refer Queensland State Archive – Recommended Record Storage Housing and Environmental Conditions |  | 0
Records are stored away from direct sunlight or other ultraviolet light sources
No direct sunlight in record storage areas (eg windows, skylights, clerestory, atriums, other penetrations) |  | 0
Low UV emitting lamps are used in record storage areas or filtration is used |  | 0
Timer-controlled switches are used for lighting in record storage areas |  | 0
Magnetic media are not stored near magnetic fields
No items containing magnets or that can generate strong magnetic fields (HV power lines, electric motors, lighting arresters) located in storage areas |  | 0
Storage areas are clean
Food and drink, flowers and plants are not allowed in storage areas |  | 0
Activities and equipment that generate waste and particulates are prohibited in storage areas |  | 0
Continuous freely moving air in storage areas
Ventilation is provided |  | 0
Air circulates freely around records and shelving - ie no stagnant pockets of air in storage |  | 0
External air is filtered to remove dust, pollen, and other pollutants
Particulate filtration is provided as specified in Queensland State Archive – Recommended Record Storage Environments |  | 0
Gaseous filtration is provided if required as specified in Queensland State Archive – Recommended Record Storage Environments |  | 0
Montoring of pollutants is in place |  | 0
HVAC filters are maintained |  | 0
Recycled air is filtered |  | 0
Fresh air intakes are oriented away from potential pollutant sources |  | 0
Principle 4 - Shelving and Packaging
The shelving and packaging of records provide protection from damage and slow deterioration
Shelving is clean, good condition, and appropriate to the format and size of the records
Records are safely accessible from shelving and cabinets |  | 0
Shelving is solid, strong, durable, robust and provides support and protection for the specific records |  | 0
Shelving is made from inert and compatible materials that can be readily cleaned and maintained |  | 0
Shelving affords physical protection that prevents mechanical damage to records (eg through vibration) |  | 0
Shelving is raised above the ground
Records are not stored directly on floors |  | 0
Records are elevated above potential spills, water leaks, flooding, dampness , dust and crawling insects |  | 0
Containers are clean, robust, in good condition and appropriate to the format and retention period of the records
Record housing and packaging is appropriate for and compatible with the format type |  | 0
Housing and packaging provides environmental buffering |  | 0
Housing and packaging protects against light exposure |  | 0
Housing and packaging protects records from dust and other pollutants |  | 0
Housing and packaging minimises damage caused through handling |  | 0
Storage containers are appropriate for record security classification
Security containers or other protection is provided for restricted, security classified or sensitive records and they are appropriately labelled |  | 0
Magnetic media are housed in non-magnetisable shelving
Non-magnetisable shelving is in use where magnetic sources cannot be eliminated |  | 0
Principle 5 - Accessibility
Records can easily be identified, located and retrieved
Records must be identified and registered in a system which controls the records and allows efficient retrieval
Records can be readily identified |  | 0
The location of records can be tracked and managed so that they can always be located |  | 0
History of access, retrieval, use and handling is documented |  | 0
Principle 6 -Handling
Records are retrieved, handled and used in a manner that prevents damage and slows deterioration
Policy and procedures for records handling are clearly defined
Policy and procedures are in place for handling of specific records and formats |  | 0
Policy and procedures are implemented and observed |  | 0
Staff are trained in records handling practices
Staff are trained in procedures for the safe and correct handling of records |  | 0
Appropriate records handling equipment and aides (eg trolleys, cages, steps) are in use and maintained |  | 0
Records are handled in accordance with security classifications
Security classified records are handled and transported accordingly |  | 0
Principle 7 - Privacy and Security
Storage conditions ensure the privacy and security of the records
Records storage areas are access controlled
Only authorised personnel have access |  | 0
Unauthorised and unsupervised visitors and contractors are not permitted in record storage areas |  | 0
Register of keys/swipe card allocations is maintained and up to date |  | 0
Keys/swipe card issue are managed |  | 0
Storage areas are appropriate to the protective marking of the material
Building and storage areas are secure against theft, vandalism and unauthorised access |  | 0
Minimum number of building and storage area entry points |  | 0
Full perimeter and adequate exterior lighting of the building is provided |  | 0
Full perimeter fencing |  | 0
Secure locks on all entry points including doors, windows |  | 0
Protectively marked records are stored and managed appropriately
Security classified, restricted and sensitive records must be marked accordingly |  | 0
The building has 24-hr physical or electronic surveillance and alarm systems
All security monitoring systems are regularly tested and response actions and times to agency specification |  | 0
Principle 8 - Protection from disaster
Disaster management programs are established and maintained to minimise risks
A disaster management plan and procedures are in place, maintained and communicated to staff
A disaster management plan and procedures are in place |  | 0
Disaster management plan is tested and reviewed anually |  | 0
Site is kept clear of accumulated rubbish and potential fire loads |  | 0
Personnel are assigned responsibilities in the records disaster management process and are trained to meet them
Staff are aware of and familiar with the disaster management plan and procedures |  | 0
Staff list with designated disaster response and recovery responsibilities is maintained |  | 0
Staff are regularly trained in emergency procedures |  | 0
Staff are aware of and regularly trained in record disaster recovery procedures |  | 0
Fire protection and suppression measures are installed in records storage areas that comply with Building Code and meet Standards
Fire detection and suppression systems are fitted |  | 0
VESDA (very early smoke detection and alarm) systems are recommended |  | 0
For records comprising photographic and film-based formats highly susceptible to water damage, gas flooding fire suppression systems are recommended rather than spinklers |  | 0
Doors and walls have a 2-hour fire resistence level (FRL) rating
Storage area walls, doors, floors and ceilings should be constructed to prevent spread of fire and leaking of sprinkler water |  | 0
Highest practicable FRL ratings should apply for record storage areas. |  | 0
All penetrations (eg from services) into storage areas should also meet minimum FLR ratings |  | 0
Principle 9 - Monitoring and maintenance
The storage facilities are monitored, managed and maintained to ensure the ongoing safety of stored records
A building maintenance plan is in place
Building and facilities management incorporates full life cycle management, inspections, maintenance and servicing |  | 0
Reactive and programmed maintenance plans and schedules are in place for the site, the building and all services and assets |  | 0
Regular cleaning and rubbish removal is in place |  | 0
Vegetation and landscaping is maintained away from the building |  | 0
The building and storage areas are monitored regularly
Building and storage areas are inspected/monitored for faults and signs of damage |  | 0
Site, building and storage areas are inspected/monitored for signs of unlawful access/forced entry and vandalism |  | 0
Condition of services and internal fittings including electrical equipment are checked regularly |  | 0
Periodic testing and servicing of utilities, services and systems is in place |  | 0
Repairs to facilities is carried out promptly once problems area identified
Reactive repairs are underaken within agency-specified KPIs by qualified tradespeople and technicians and to industry standards |  | 0
Integrated pest management (IPM) program is in place, maintained and communicated to staff
An integrated pest management plan and procedures are in place |  | 0
Staff are aware of IPM and trained in procedures |  | 0
IPM is updated regularly and reviewed annually |  | 0
Regular monitoring is in place for early detection of pests and mould |  | 0

## Results
Results of Records Storage Assessment
Criteria Categories | Score | Score | Score | % | Relative Performance
Overall ratings
Meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Partialy meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Not met | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Principle 1 - Location
Meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Partialy meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Not met | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Principle 2 - Facility Design and Construction
Meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Partialy meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Not met | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Principle 3 - Environmental Control
Meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Partialy meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Not met | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Principle 4 - Shelving and Packaging
Meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Partialy meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Not met | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Principle 5 - Accessibility
Meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Partialy meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Not met | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Principle 6 -Handling
Meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Partialy meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Not met | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Principle 7 - Privacy and Security
Meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Partialy meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Not met | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Principle 8 - Protection from disaster
Meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Partialy meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Not met | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Principle 9 - Monitoring and maintenance
Meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Partialy meets | 0 |  | #DIV/0! | #DIV/0! | #DIV/0!
Not met | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
0